## Data
Rotary Viscosity Measurements Sample Interval 24 Hours
[5 empty] | Interpolated Vis at 6% Soot |  |  | Interpolated Soot at |  | Curve Fit for Delta cP |  |  | Curve Fit for Relative Vis
Test | OILCODE | LAB | STAND | STRUN | Vis | Delta | Relative | 9 cP Delta | 13 cP Delta | Vis Delta at 6% Soot | Soot at 9 cP Delta Vis | Soot at 13 cP Delta Vis | Rel Vis at 6% Soot | Soot at 2.0 Rel Vis | Soot at 2.5 Rel Vis
Ethyl | 43653 | D | 1 | 1 | 24.7625 | 12.7769 | 2.066 | 5.8454 | 6.0091 | 13.5002 | 5.83 | 5.98 | 2.1264 | 5.94 | 6.22
LZ1 | 45862 | B | 1 | 1 | 36.9814 | 24.8902 | 3.0585 | 5.1094 | 5.5321 | 23.1256 | 5.52 | 5.57 | 2.9126 | 5.52 | 5.83
PE1 | 45186 | G | 1 | 1 | 42.8376 | 30.7992 | 3.5584 | 5.2588 | 5.3948 | 31.1278 | 5.25 | 5.35 | 3.5857 | 5.32 | 5.49
PE2 | 47497 | G | 2 | 1 | 23.284 | 11.3072 | 1.9441 | 5.794 | 6.1511 | 10.3816 | 5.91 | 6.15 | 1.8668 | 6.1 | 6.35
PE3 | 47645 | G | 1 | 2 | 44.1218 | 32.1538 | 3.6867 | 5.2137 | 5.4364 | 34.1555 | 5.39 | 5.42 | 3.8539 | 5.4 | 5.52
SwRI1 | 43648 | A | 1 | 1 | 25.7693 | 13.8013 | 2.1532 | 5.67 | 5.9449 | 13.4428 | 5.73 | 5.98 | 2.1232 | 5.92 | 6.25
SwRI2 | 46027 | A | 2 | 1 | 27.166 | 15.2156 | 2.2732 | 5.6585 | 5.8786 | 14.5629 | 5.66 | 5.92 | 2.2186 | 5.86 | 6.18
SwRI3 | 46028 | A | 3 | 1 | 23.8775 | 11.9359 | 1.9995 | 5.6863 | 6.0845 | 11.3571 | 5.76 | 6.14 | 1.951 | 6.06 | 6.49
SwRI4 | 46029 | A | 4 | 1 | 20.911 | 8.9606 | 1.7498 | 6.0075 | 6.6817 | 9.3956 | 5.69 | 6.74 | 1.7862 | 6.68 | 6.94
SwRI5 | 46030 | A | 1 | 2 | 23.1357 | 11.1853 | 1.936 | 5.591 | 6.4931 | 10.1098 | 5.82 | 6.35 | 1.846 | 6.24 | 6.76
SwRI6 | 47775 | A | 2 | 2 | 30.5086 | 18.5142 | 2.5436 | 5.561 | 5.7869 | 18.5018 | 5.74 | 5.87 | 2.5425 | 5.84 | 5.99
SwRI7 | 47776 | A | 4 | 2 | 21.6755 | 9.6987 | 1.8098 | 5.9149 | 6.4004 | 8.0882 | 6.13 | 6.41 | 1.6753 | 6.35 | 6.61
SwRI8 | 48048 | A | 5 | 1 | 31.5268 | 19.5236 | 2.6265 | 5.5966 | 5.7499 | 18.9641 | 5.61 | 5.79 | 2.5799 | 5.75 | 5.97
SwRI9 | 48049 | A | 6 | 1 | 28.3914 | 16.4938 | 2.3863 | 5.4776 | 5.8331 | 15.7295 | 5.54 | 5.85 | 2.3221 | 5.77 | 6.11
XOM | 44411 | F | 1 | 1 | 24.1219 | 12.1187 | 2.0096 | 5.6847 | 6.0891 | 12.0524 | 5.746 | 6.076 | 2.0041 | 6.006 | 6.446
|  |  |  | 15 Test Average | 28.6047 | 16.625 | 2.3868 | 5.6046 | 5.9644 | 16.2997 | 5.6884 | 5.9731 | 2.3596 | 5.9171 | 6.2104
|  |  |  | s | 7.3605 | 7.3387 | 0.60922 | 0.25475 | 0.37259 | 7.7804 | 0.21262 | 0.36933 | 0.64656 | 0.35621 | 0.41461
|  |  |  | CoV | 25.73% | 44.14% | 25.53% | 4.545% | 6.247% | 47.73% | 3.738% | 6.183% | 27.4% | 6.02% | 6.676%
|  |  |  | 10 Test Average | 27.0929 | 15.1153 | 2.261 | 5.6367 | 5.9981 | 14.522 | 5.7126 | 6.0346 | 2.2116 | 5.9756 | 6.2816
|  |  |  | s | 4.9361 | 4.9044 | 0.40462 | 0.24311 | 0.33544 | 4.6667 | 0.16975 | 0.33405 | 0.3853 | 0.32998 | 0.33971
|  |  |  | CoV | 18.22% | 32.45% | 17.9% | 4.313% | 5.592% | 32.14% | 2.971% | 5.536% | 17.42% | 5.522% | 5.408%
Rotary Viscosity Measurements Sample Interval 12 Hours
[5 empty] | Interpolated Vis at 6% Soot |  |  | Interpolated Soot at |  | Curve Fit for Delta cP |  |  | Curve Fit for Relative Vis
Test | OILCODE | LAB | STAND | STRUN | Vis | Delta | Relative | 9 cP Delta | 13 cP Delta | Vis Delta at 6% Soot | Soot at 9 cP Delta Vis | Soot at 13 cP Delta Vis | Rel Vis at 6% Soot | Soot at 2.0 Rel Vis | Soot at 2.5 Rel Vis
LZ1 | 45862 | B | 1 | 1 | 35.8737 | 23.7825 | 2.9669 | 5.1752 | 5.5375 | 23.849 | 5.26 | 5.58 | 2.9724 | 5.53 | 5.8
SwRI1 | 43648 | A | 1 | 1 | 24.9036 | 12.9356 | 2.0808 | 5.6793 | 6.0052 | 13.7942 | 5.72 | 5.96 | 2.1526 | 5.9 | 6.22
SwRI2 | 46027 | A | 2 | 1 | 26.1865 | 14.2361 | 2.1913 | 5.6579 | 5.9196 | 14.3537 | 5.63 | 5.92 | 2.2011 | 5.85 | 6.2
SwRI3 | 46028 | A | 3 | 1 | 23.7164 | 11.7748 | 1.986 | 5.6186 | 6.1047 | 11.7113 | 5.79 | 6.09 | 1.9807 | 6.02 | 6.36
SwRI4 | 46029 | A | 4 | 1 | 21.0756 | 9.1252 | 1.7636 | 5.9571 | 6.6178 | 9.5614 | 5.9 | 6.59 | 1.8001 | 6.43 | N/A
SwRI6 | 47775 | A | 2 | 2 | 30.37 | 18.3756 | 2.532 | 5.7806 | 5.872 | 19.2551 | 5.7 | 5.83 | 2.6053 | 5.8 | 5.97
SwRI7 | 47776 | A | 4 | 2 | 21.8133 | 9.8365 | 1.8213 | 5.8997 | 6.4003 | 9.3979 | 5.96 | 6.27 | 1.7847 | 6.21 | 6.5
SwRI8 | 48048 | A | 5 | 1 | 27.4032 | 15.4 | 2.283 | 5.6151 | 5.9392 | 17.7611 | 5.67 | 5.84 | 2.4797 | 5.8 | 6.01
SwRI9 | 48049 | A | 6 | 1 | 28.8565 | 16.9589 | 2.4254 | 5.7088 | 5.8513 | 15.974 | 5.66 | 5.88 | 2.3426 | 5.82 | 6.08
XOM | 44411 | F | 1 | 1 | 23.2032 | 11.2 | 1.9331 | 5.7559 | 6.1243 | 11.4937 | 5.766 | 6.136 | 1.9575 | 6.046 | 6.516
|  |  |  | 10 Test Average | 26.3402 | 14.3625 | 2.1983 | 5.6848 | 6.0372 | 14.7151 | 5.7056 | 6.0096 | 2.2277 | 5.9406 | 6.184
|  |  |  | s | 4.4921 | 4.4637 | 0.36837 | 0.21209 | 0.30131 | 4.5961 | 0.1889 | 0.27888 | 0.37909 | 0.2499 | 0.24417
|  |  |  | CoV | 17.05% | 31.08% | 16.76% | 3.731% | 4.991% | 31.23% | 3.311% | 4.641% | 17.02% | 4.207% | 3.948%
Kinematic Viscosity Measurements Sample Interval 12 Hours
[5 empty] | Interpolated Vis at 6% Soot |  |  | Interpolated Soot at |  | Curve Fit for Delta cSt |  |  | Curve Fit for Relative Vis
Test | OILCODE | LAB | STAND | STRUN | Vis | Delta | Relative | 10 cSt Delta | 15 cSt Delta | Vis Delta at 6% Soot | Soot at 10 cSt Delta Vis | Soot at 15 cSt Delta Vis | Rel Vis at 6% Soot | Soot at 2.0 Rel Vis | Soot at 2.5 Rel Vis
Ethyl | 43653 | D | 1 | 1 | 26.3971 | 12.7771 | 1.9381 | 5.6459 | 6.0958 | 14.6786 | 5.59 | 6.03 | 2.0777 | 5.92 | 6.4
LZ1 | 45862 | B | 1 | 1 | 42.4908 | 28.7508 | 3.0925 | 5.3529 | 5.6889 | 25.14 | 5.25 | 5.4 | 2.8297 | 5.36 | 5.77
PE1 | 45186 | G | 1 | 1 | 36.9023 | 23.2223 | 2.6975 | 5.3435 | 5.6744 | 21.4025 | 5.27 | 5.38 | 2.5645 | 5.34 | 5.99
PE2 | 47497 | G | 2 | 1 | 25.03 | 11.42 | 1.8391 | 5.8633 | 6.2904 | 9.1293 | 5.44 | 6.41 | 1.6708 | 6.37 | 6.52
PE3 | 47645 | G | 1 | 2 | 63.2458 | 49.6458 | 4.6504 | 5.3059 | 5.5685 | 53.1941 | 5.16 | 5.73 | 4.9113 | 5.72 | 5.78
SwRI1 | 43648 | A | 1 | 1 | 26.7136 | 13.1136 | 1.9642 | 5.7238 | 6.1258 | 12.5701 | 5.79 | 6.15 | 1.9243 | 6.07 | 6.4
SwRI2 | 46027 | A | 2 | 1 | 27.6179 | 14.0379 | 2.0337 | 5.5388 | 6.0964 | 14.1481 | 5.58 | 6.07 | 2.0418 | 5.96 | 6.36
SwRI3 | 46028 | A | 3 | 1 | 27.6709 | 14.1009 | 2.0391 | 5.6684 | 6.0909 | 13.9048 | 5.75 | 6.06 | 2.0247 | 5.99 | 6.3
SwRI4 | 46029 | A | 4 | 1 | 24.3046 | 10.7246 | 1.7897 | 5.8283 | 6.4458 | 10.7831 | 5.78 | 6.5 | 1.794 | 6.39 | 6.77
SwRI5 | 46030 | A | 1 | 2 | 30.0072 | 16.4272 | 2.2097 | 5.2764 | 5.8925 | 16.8754 | 5.27 | 5.86 | 2.2427 | 5.74 | 6.23
SwRI6 | 47775 | A | 2 | 2 | 30.875 | 17.245 | 2.2652 | 5.6415 | 5.9203 | 16.4321 | 5.73 | 5.96 | 2.2056 | 5.91 | 6.1
SwRI7 | 47776 | A | 4 | 2 | 25.7294 | 12.1194 | 1.8905 | 5.7788 | 6.3952 | 11.7484 | 5.45 | 6.48 | 1.8632 | 6.42 | 6.63
SwRI8 | 48048 | A | 5 | 1 | 29.4708 | 15.8308 | 2.1606 | 5.5033 | 5.9821 | 21.1039 | 5.75 | 5.87 | 2.5472 | 5.84 | 5.99
SwRI9 | 48049 | A | 6 | 1 | 32.6988 | 19.1788 | 2.4186 | 5.5065 | 5.8453 | 18.1284 | 5.54 | 5.86 | 2.3409 | 5.79 | 6.09
XOM | 44411 | F | 1 | 1 | 28.0867 | 14.4467 | 2.0591 | 5.5074 | 6.2212 | 14.1007 | 5.566 | 6.086 | 2.0338 | 5.956 | 6.546
|  |  |  | 15 Test Average | 31.8161 | 18.2027 | 2.3365 | 5.5656 | 6.0222 | 18.2226 | 5.5277 | 5.9897 | 2.3381 | 5.9184 | 6.2584
|  |  |  | s | 9.9345 | 9.9223 | 0.72775 | 0.19049 | 0.2611 | 10.5931 | 0.2137 | 0.33394 | 0.77779 | 0.32176 | 0.30105
|  |  |  | CoV | 31.22% | 54.51% | 31.15% | 3.423% | 4.336% | 58.13% | 3.866% | 5.575% | 33.27% | 5.437% | 4.81%
|  |  |  | 10 Test Average | 29.5659 | 15.9548 | 2.1713 | 5.605 | 6.0812 | 15.806 | 5.6186 | 6.0436 | 2.1605 | 5.9686 | 6.2956
|  |  |  | s | 5.15 | 5.1135 | 0.37043 | 0.14795 | 0.23541 | 4.502 | 0.17547 | 0.31586 | 0.32642 | 0.30085 | 0.30999
|  |  |  | CoV | 17.42% | 32.05% | 17.06% | 2.64% | 3.871% | 28.48% | 3.123% | 5.226% | 15.11% | 5.04% | 4.924%