T-8E RELATIVE VISCOSITY AT 4.8% SOOT INDUSTRY ALARM LOG

February 1, 1998 to February 12, 1998 (Precision)

A one-test excursion occurs. No industry related problem.

March 21, 1998 to March 24, 1998 (Precision)

A two-test excursion occurs. No industry related problem.

September 16, 1999 to October 21, 1999 (Severity, Mild direction)

Four of five tests trigger a warning alarm. No causes were identified and the Surveillance Panel took no action.

November 6, 2000 to February 22, 2001 (Severity, Mild direction)

A two-test excursion occurs. No industry related problem.

September 2, 2005 to May 4, 2006 (Severity, Mild direction)

A one-test excursion occurs. No indication of a true industry alarm.

November 15, 2010 to Date (Severity, Mild direction)

Alarms are tripped for two of three tests. No indication of a true industry alarm.

Updated 7/30/26