D02.B0.07 D874 Surveillance Panel

Approved Reference Oils From

D874 Round Robin October-December 2006

| Oil | 90 | 91 | 820-2 |
| --- | --- | --- | --- |
| n | 27 | 27 | 27 |
| Target Mean | 1.07 | 0.82 | 1.57 |
| Target sR | 0.08 | 0.05 | 0.08 |
| 95% Lower Acceptance Limit | 0.91 | 0.72 | 1.40 |
| 95% Upper Acceptance Limit | 1.23 | 0.92 | 1.73 |