## Sheet1
Test Method | CMIR Number | Instrument ID | Date Test Completed (YYYYMMDD) | Time Test Completed (military) HH:MM | TMC Laboratory Code | Industry Oil Code | Volatility Found (Result) mass %
Selby-Noack Draft 4 | 34659 | A | 19990516 |  | V1 | 58 (NB) | 14.83
Selby-Noack Draft 4 | 34660 | A | 19990516 |  | V1 | 56 | 19.57
Selby-Noack Draft 4 | 34660 | A | 19990516 |  | V1 | 56 | 20.02
Selby-Noack Draft 4 | 34659 | A | 19990518 |  | V1 | 58 (NB) | 14.71 | Instrument thermocouple replaced on 5/18/99 (found to be faulty)
Selby-Noack Draft 4 | 34661 | A | 19990518 |  | V1 | 51 | 17.29
Selby-Noack Draft 4 | 34661 | A | 19990518 |  | V1 | 51 | 17.82
Selby-Noack Draft 4 | 34662 | A | 19990518 |  | V1 | 57 | 11.25
Selby-Noack Draft 4 | 34662 | A | 19990518 |  | V1 | 57 | 11.58
Selby-Noack Draft 4 | 34659 | A | 19990519 |  | V1 | 58 (NB) | 14.19
Selby-Noack Draft 4 | 34663 | A | 19990519 |  | V1 | 52 | 13.2
Selby-Noack Draft 4 | 34663 | A | 19990519 |  | V1 | 52 | 13.03
Selby-Noack Draft 4 | 34664 | A | 19990519 |  | V1 | 55 | 15.37
Selby-Noack Draft 4 | 34664 | A | 19990519 |  | V1 | 55 | 15.96
Selby-Noack Draft 4 | 34665 | A | 19990519 |  | V1 | 58 | 13.33
Selby-Noack Draft 4 | 34665 | A | 19990519 |  | V1 | 58 | 13.42
Selby-Noack Draft 4 | 34666 | A | 19990520 | 16:00 | G | 58 (NB) | 14.43
Selby-Noack Draft 4 | 34666 | A | 19990520 | 17:30 | G | 58 (NB) | 14.64
Selby-Noack Draft 4 | 34667 | A | 19990520 | 20:30 | G | 55 | 16.6
Selby-Noack Draft 4 | 34667 | A | 19990520 | 22;15 | G | 55 | 16.88
Selby-Noack Draft 4 | 34666 | A | 19990521 | 14:20 | G | 58 (NB) | 14.17
Selby-Noack Draft 4 | 34668 | A | 19990521 | 17:30 | G | 57 | 12.74
Selby-Noack Draft 4 | 34668 | A | 19990521 | 20:00 | G | 57 | 12.76
Selby-Noack Draft 4 | 34666 | A | 19990524 | 14:00 | G | 58 (NB) | 14.74
Selby-Noack Draft 4 | 34669 | A | 19990524 | 16:55 | G | 58 | 14.61
Selby-Noack Draft 4 | 34669 | A | 19990524 | 18:00 | G | 58 | 14.74
Selby-Noack Draft 4 | 34670 | A | 19990524 | 21:00 | G | 51 | 19.12
Selby-Noack Draft 4 | 34670 | A | 19990524 | 22:00 | G | 51 | 18.43
Selby-Noack Draft 4 | 34666 | A | 19990525 | 14:15 | G | 58 (NB) | 15.18
Selby-Noack Draft 4 | 34671 | A | 19990525 | 16:30 | G | 52 | 14.02
Selby-Noack Draft 4 | 34671 | A | 19990525 | 19:00 | G | 52 | 14.28
Selby-Noack Draft 4 | 34672 | A | 19990525 | 21:00 | G | 56 | 21.28
Selby-Noack Draft 4 | 34672 | A | 19990525 | 22:45 | G | 56 | 20.58
Selby-Noack Draft 4 | 34691 | A | 19990520 |  | K | 58 (NB) | 14.98
Selby-Noack Draft 4 | 34692 | A | 19990520 |  | K | 56 | 20.28
Selby-Noack Draft 4 | 34692 | A | 19990520 |  | K | 56 | 19.63
Selby-Noack Draft 4 | 34693 | A | 19990520 |  | K | 52 | 13.49
Selby-Noack Draft 4 | 34693 | A | 19990520 |  | K | 52 | 13.24
Selby-Noack Draft 4 | 34694 | A | 19990520 |  | K | 58 | 14.62
Selby-Noack Draft 4 | 34691 | A | 19990521 |  | K | 58 (NB) | 14.37
Selby-Noack Draft 4 | 34695 | A | 19990521 |  | K | 51 | 19.14
Selby-Noack Draft 4 | 34695 | A | 19990521 |  | K | 51 | 19.14
Selby-Noack Draft 4 | 34696 | A | 19990521 |  | K | 57 | 12.14
Selby-Noack Draft 4 | 34696 | A | 19990521 |  | K | 57 | 11.98
Selby-Noack Draft 4 | 34697 | A | 19990521 |  | K | 55 | 15.91
Selby-Noack Draft 4 | 34697 | A | 19990521 |  | K | 55 | 16.11
Selby-Noack Draft 4 | 34673 | A | 1999-05-19 | 8:05 | AD | 58 (NB) | 14.49
Selby-Noack Draft 4 | 34675 | A | 1999-05-19 | 11:28 | AD | 57 | 11.47
Selby-Noack Draft 4 | 34675 | A | 1999-05-19 | 14:32 | AD | 57 | 11.78
Selby-Noack Draft 4 | 34673 | A | 1999-05-20 | 8:08 | AD | 58 (NB) | 15.02
Selby-Noack Draft 4 | 34676 | A | 1999-05-20 | 9:40 | AD | 52 | 13.43
Selby-Noack Draft 4 | 34676 | A | 1999-05-20 | 11:20 | AD | 52 | 13.38
Selby-Noack Draft 4 | 34677 | A | 1999-05-20 | 13:45 | AD | 55 | 15.09
Selby-Noack Draft 4 | 34677 | A | 1999-05-20 | 15:00 | AD | 55 | 14.82
Selby-Noack Draft 4 | 34673 | A | 1999-05-24 | 7:15 | AD | 58 (NB) | 14.53
Selby-Noack Draft 4 | 34678 | A | 1999-05-24 | 8:30 | AD | 58 | 13.99
Selby-Noack Draft 4 | 34678 | A | 1999-05-24 | 10:00 | AD | 58 | 13.01
Selby-Noack Draft 4 | 34679 | A | 1999-05-24 | 13:10 | AD | 51 | 17.62
Selby-Noack Draft 4 | 34679 | A | 1999-05-24 | 15:21 | AD | 51 | 16.97
Selby-Noack Draft 4 | 34673 | A | 1999-05-26 | 8:13 | AD | 58 (NB) | 14.25
Selby-Noack Draft 4 | 34775 | A | 1999-05-26 | 13:05 | AD | 56 | 20.68
Selby-Noack Draft 4 | 34775 | A | 1999-05-26 | 15:23 | AD | 56 | 20.48
Selby-Noack Draft 4 | 34767 | A | 1999-05-27 | 7:30 | Y | 58 (NB) | 14.18
Selby-Noack Draft 4 | 34768 | A | 1999-05-27 | 10:30 | Y | 51 | 17.36
Selby-Noack Draft 4 | 34768 | A | 1999-05-27 | 13:00 | Y | 51 | 17.61
Selby-Noack Draft 4 | 34773 | A | 1999-05-27 | 15:15 | Y | 57 | 11.98
Selby-Noack Draft 4 | 34773 | A | 1999-05-27 | 17:45 | Y | 57 | 11.85
Selby-Noack Draft 4 | 34770 | A | 1999-05-27 | 20:00 | Y | 56 | 19.75
Selby-Noack Draft 4 | 34770 | A | 1999-05-27 | 22:30 | Y | 56 | 19.5
Selby-Noack Draft 4 | 34767 | A | 1999-05-28 | 7:30 | Y | 58 (NB) | 14.8
Selby-Noack Draft 4 | 34769 | A | 1999-05-28 | 11:00 | Y | 55 | 15.68
Selby-Noack Draft 4 | 34769 | A | 1999-05-28 | 13:30 | Y | 55 | 15.93
Selby-Noack Draft 4 | 34772 | A | 1999-05-28 | 15:45 | Y | 58 | 14.63
Selby-Noack Draft 4 | 34772 | A | 1999-05-28 | 18:00 | Y | 58 | 14.29
Selby-Noack Draft 4 | 34767 | A | 1999-06-03 | 7:30 | Y | 58 (NB) | 14.98
Selby-Noack Draft 4 | 34771 | A | 1999-06-03 | 11:00 | Y | 52 | 14.72
Selby-Noack Draft 4 | 34771 | A | 1999-06-03 | 13:45 | Y | 52 | 14.21
Selby-Noack Draft 4 | 34698 | B | 19990602 | 7:15 | V2 | 58 (NB) | 14.57
Selby-Noack Draft 4 | 34699 | B | 19990602 | 8:50 | V2 | 57 | 11.68
Selby-Noack Draft 4 | 34699 | B | 19990602 | 10:15 | V2 | 57 | 11.25
Selby-Noack Draft 4 | 34700 | B | 19990602 | 12:00 | V2 | 55 | 15.91
Selby-Noack Draft 4 | 34700 | B | 19990602 | 13:20 | V2 | 55 | 15.83
Selby-Noack Draft 4 | 34701 | B | 19990602 | 14:50 | V2 | 56 | 20.05
Selby-Noack Draft 4 | 34701 | B | 19990602 | 16:20 | V2 | 56 | 21.05
Selby-Noack Draft 4 | 34698 | B | 19990603 | 7:20 | V2 | 58 (NB) | 14.51
Selby-Noack Draft 4 | 34702 | B | 19990603 | 8:45 | V2 | 51 | 17.29
Selby-Noack Draft 4 | 34702 | B | 19990603 | 10:15 | V2 | 51 | 17.46
Selby-Noack Draft 4 | 34703 | B | 19990603 | 11:40 | V2 | 58 | 14.35
Selby-Noack Draft 4 | 34703 | B | 19990603 | 13:10 | V2 | 58 | 14.28
Selby-Noack Draft 4 | 34704 | B | 19990603 | 14:45 | V2 | 52 | 13.21
Selby-Noack Draft 4 | 34704 | B | 19990603 | 16:15 | V2 | 52 | 13.17
Selby-Noack Draft 4 | 34681 | A | 1999-06-10 | 11:30 | I | 55 | 16.28
Selby-Noack Draft 4 | 34681 | A | 1999-06-10 | 14:30 | I | 55 | 15.91
Selby-Noack Draft 4 | 34682 | A | 1999-06-15 | 10:55 | I | 52 | 13.54
Selby-Noack Draft 4 | 34682 | A | 1999-06-15 | 12:50 | I | 52 | 13.57
Selby-Noack Draft 4 | 34683 | A | 1999-06-15 | 14:40 | I | 57 | 11.78
Selby-Noack Draft 4 | 34683 | A | 1999-06-15 | 16:30 | I | 57 | 11.54
Selby-Noack Draft 4 | 34684 | A | 1999-06-16 | 10:55 | I | 51 | 17.92
Selby-Noack Draft 4 | 34684 | A | 1999-06-16 | 11:35 | I | 51 | 18.23
Selby-Noack Draft 4 | 34685 | A | 1999-06-16 | 14:30 | I | 58 | 14.11
Selby-Noack Draft 4 | 34685 | A | 1999-06-16 | 16:15 | I | 58 | 14.95
Selby-Noack Draft 4 | 34686 | A | 1999-06-16 | 18:00 | I | 56 | 19.66
Selby-Noack Draft 4 | 34686 | A | 1999-06-16 | 19:45 | I | 56 | 19.94
Selby-Noack | 34680 | A | 1999-06-10 | 8:45 | I | 58 (NB) | 14.22
Selby-Noack | 34680 | A | 1999-06-15 | 8:45 | I | 58 (NB) | 14.65
Selby-Noack | 34680 | A | 1999-06-16 | 8:45 | I | 58 (NB) | 14.03
(NB = Non-blind check sample)
One of lab K's blind runs on TMC 58 was reported as operationally invalid, so is excluded from the data set. This leaves only a single valid run for that sample (CMIR 34694).
Lab V Ran samples on two different instruments, different operators
Lab S indicated operational problems and recommended their data be excluded until the problems can be resolved