AVERAGE SLUDGE RATING INDUSTRY ALARM LOG

February 3, 2002 to June 16, 2002 (Severity, severe direction; Precision)

Five consecutive tests exceed severity and precision limits. These alarms appear to have been caused by one extremely severe result on a stand that did not successfully calibrate. The alarms cleared with no action taken.

December 14, 2003 to Date (Severity, severe direction; Precision)

A recent test, which was extremely severe, triggered a warning alarm. Subsequent tests triggered precision alarms. No indication yet if this is a true industry alarm.

Updated 7/30/26