MRV VISCOSITY INDUSTRY ALARM LOG

November 13, 2001 to March 26, 2002 (Severity, severe direction; Precision action)

A series of seven tests sounds industry warning and action alarms. Thought to be caused by a single result that was extremely severe (6.9 standard deviations). No industry related problem.

April 22, 2002 to May 1, 2002 to date (Precision warning)

A two-test excursion occurs. No indication of a true industry problem.

March 20, 2003 to July 12, 2004 (Severity warning, severe direction; Precision warning)

Eight of ten tests trip alarms. No known cause was established and the alarm cleared without Surveillance Panel action.

December 5, 2005 to August 11, 2006 (Severity warning, mild direction; Precision warning)

Two tests trip alarms. No indication of a true industry problem.

Updated 7/30/26