OIL CONSUMPTION INDUSTRY ALARM LOG

December 6, 2005 to January 7, 2006 (Precision)

A one-test excursion occurs. No industry related problem.

April 3, 2006 to July 16, 2006 (Precision)

A series of four tests trigger an industry action alarm. The alarm clears without any action by the Surveillance Panel.

July 5, 2007 to May 17, 2008 (Precision)

A series of seven tests trigger an industry action alarm. No known cause.

October 14, 2008 to March 28, 2011 (Precision; Severity, severe direction)

A series of test trip alarms. Alarms clear without action from the surveillance panel.

Updated 7/30/26