L60-1 (Pentane) INDUSTRY ALARM LOG

October 25, 1996  to November 5, 1996 ( Severity )

Three warning alarms occurred during this period.  Not an industry alarm event.  Appears to be a lab problem.

March 26, 1998 to April 1, 1998  (Severity )

Two mild warning alarms caused by a single test result of -2.67 (/s mild. There were no identifiable lab, stand or oil problems. Alarms cleared on next test result.

June 27, 1999 to August 5, 1999  (Severity )

There were five industry EWMA severity warning alarms this report period.  The severe alarms are related to a chemical analysis problem at one laboratory (Lab D).  The lab is currently working with the TMC to resolve the problem.