L60-1 (Sludge) INDUSTRY ALARM LOG

November 22, 1994 to December 6, 1994 ( SEVERITY )

One action and two warning alarms occurred during this period.  Not an industry alarm event. Two consecutive test results from one lab, both tests greater than 2.0 (/s mild.

May 18, 1995  (SEVERITY )

One mild warning alarm event.

December 12, 1997 to January 4, 1998  ( SEVERITY and PRECISION )

One warning and two action severity alarms occurred during this period. One warning precision alarm occurred during this period.  Alarms are influenced by two test results from one lab, 6.24 and 2.22  (/s mild.

August 14, 1998 to August 21, 1998 ( SEVERITY )

Two mild warning alarms occurred during this period.  Alarms are influenced by test results from one lab and two stands. Lab is reviewing the problem.

August 13, 1999 to September 26, 199  ( SEVERITY and PRECISION )

There were four industry EWMA severity alarms (two warning and two action) and one industry EWMA precision warning alarm this report period. The alarms were triggered due to severe test results at one laboratory (Lab A).  The lab is currently working with the TMC to resolve the problem.